## 机房设备减振
参考工程量清单
序号 No. | 名 称及说明 Name and Description | 单 位 Unit | 数量 Amount | 金额（元）Price(RMB)
|  |  |  | 单价 Unit Price | 合价 Total Price
1 | 空气源热泵热水机组牛腿钢架主材 Air source heat pump hot water unit corbel steel frame main material | 台 unit | 4
2 | 空气源热泵热水机组牛腿钢架安装 Installation of steel frame for air source heat pump hot water unit | 台 unit | 4
3 | 水泵基础隔振钢架主材 Main material of water pump foundation vibration isolation steel frame | 台 unit | 9
4 | 水泵基础隔振钢架安装 Installation of vibration isolation steel frame for water pump foundation | 台 unit | 9
5 | 弹簧阻尼减震器主材 Spring damping shock absorber main material | 个 set | 24
6 | 弹簧阻尼减震器安装 Spring damper shock absorber installation | 个 set | 24
7 | 减震器配套隔振层主材 Main material for vibration isolation layer of shock absorber | 套 set | 24
8 | 减震器配套隔振层安装 Installation of vibration isolation layer for shock absorber | 套 set | 24
11 | 水泵橡胶隔振器主材 Main material of water pump rubber vibration isolator | 个 set | 36
12 | 水泵橡胶隔振器安装 Installation of rubber vibration isolator for water pump | 个 set | 36
13 | 橡胶隔振器配套隔振层主材 Main material of vibration isolation layer for rubber vibration isolator | 套 set | 36
14 | 橡胶隔振器配套隔振层安装 Installation of rubber vibration isolator and supporting vibration isolation layer | 套 set | 36
15 | 管路支架减振主材 Pipeline support vibration reduction main material | 点 point | 110
16 | 管路支架减振安装 Pipeline support shock-absorbing installation | 点 | 110
17 | 小计 Subtotal
18 | 其它费用 Other expenses
19 | 材料运输费 Material transportation fee | 项 | 1
20 | 二次搬运费 Second handling fee | 项 | 1
21 | 辅材费 Supplementary materials fee | 项 | 1
22 | 测试费 Testing Fee | 项 | 1
23 | 小计 Subtotal
24 | 合计 Total
25 | 税金 Tax
26 | 工程总价(元) Total project price（RMB）
工期：30天
质保期：自项目验收合格之日起算，三年。